Configuring Skyline Batch for Selevsek Data

This tutorial covers how to use Skyline Batch to create and run five sharable configurations with the Selevsek 2015 data.

Getting Started

Install Skyline Batch from:

Skyline Batch (washington.edu)

Create a “Selevsek” folder in a drive on your computer that has at least 134GB of free space. This folder will be used to store all the data and associated files for the configurations.

To download the R script to install the necessary R packages, go to:

https://panoramaweb.org/dia-selevsek15.url

- Click on the Files tab in the upper right-hand corner

- Double-click on the reports folder to open it.

- Check the checkbox next to install_R_packages.R.

- Click the download icon to download the file into your downloads folder.

Setting Up R

Check if you have a “C:\Program Files\R\ R-4.0.3” folder. If you do not, go to:

Index of /bin/windows/base/old/4.0.3 (r-project.org)

*Note: You can use an R-4.0.3 installation located somewhere else on your computer. However, you will have to add your R directory to Skyline Batch.

Install R-4.0.3 from the R-4.0.3-win.exe link. When it is done downloading, the setup installer will open.

- Click the Next button until you see a green Installing progress bar.

- Click the Finish button.

Go to the Rtools website:

Building R for Windows (r-project.org)

- Click on “Rtools35.exe” to begin downloading the correct version of Rtools.

- Click the Next button until you reach Install to accept the default settings.

- Click the Install button.

- Click the Finish button.

If you do not have Rstudio, download it here:

Download the RStudio IDE – Rstudio

- Install it, accepting the default settings.

- Open RStudio.

- Go to Tools and click Global Options.

- Select the General tab on the left-hand side.

- Check if R version is showing R-4.0.3

  - If it is:

    - Click OK

  - If it is not:

    - Click Change

    - Select R-4.0.3

    - Click OK twice

    - Restart RStudio

You are now ready to start downloading packages in R-4.0.3

- In RStudio, click File > Open File

- Navigate to your downloads folder and double-click on “install_R_packages.R” to open it.

- Select line 2, then click the Run toolbar button. (Ctrl-Enter)

You should see this output if the download was successful:

- Select lines 4-5, then click the Run toolbar button. (Ctrl-Enter)

You should see this output if the download was successful:

Creating the Selevsek-all (MSstats) Configuration

- Open Skyline Batch.

Skyline Batch looks for Skyline when you open it the first time. If it does not find it, you will see a form to specify the path to the Skyline directory. Do that.

You will see the main window, which looks like this:

*Note: This tutorial requires a version of Skyline Batch after 21.1.0.312. If you have an earlier version number (seen in the top left corner of the main window) or no version number, you will need to install the newest version of Skyline Batch from Skyline Batch (washington.edu).

- Click the Add button.

This brings up the Skyline Batch Configuration dialog.

- Click on the Files tab.

- Select the Configuration name textbox and type “Selevsek-all (MSstats)”

Skyline template file path:

- Click the download button () next to Skyline template file path.

This opens the Download Template File From Panorama dialog:

- Expand the Remote source drop-down list

- Click <Add…>

This opens the Remote source dialog:

- Select the Name textbox and type “Selevsek folder”

In a web browser, navigate to the 2015-Selevsek folder on Panorama:

https://panoramaweb.org/dia-selevsek15.url

- Click on the Files tab in the upper right-hand corner

This brings you to the folder view of the data.

- Click on the Files label underneath MacCoss-2015-Selevsek (shown in the red square below).

This displays the WebDav URL at the bottom of the page:

- Right-click on the blue WebDav URL link.

- Click Copy link.

Return to Skyline Batch.

- Paste (CTRL+V) into the Folder URL of the Download Source dialog.

The Remote Source dialog should now look like this:

- Click Save.

This has created a remote source for the 2015-Selevsek folder on Panorama that can be reused for other downloaded files.

- Select the Relative path textbox and type “Selevsek.sky.zip”

The Download Template File From Panorama dialog should now look like this:

- Click Save.

The file name appears and the download icon next to Skyline template file path turns blue and white, indicating that the file will be downloaded:

- Click the (…) button next to Skyline template file path.

- Select your “Selevsek” folder in the folder explorer and click OK.

The Skyline template file path should now look like this:

Analysis folder path:

- Click the (…) button next to Analysis folder path.

- Select your “Selevsek” folder in the folder explorer and click OK.

- Add “\Selevsek-all” to the end of the Analysis folder path.

This will create a “Selevsek-all” folder to hold the results of analysis when the configuration is run.

The Analysis folder path should now look like this:

Analysis file name:

- Check the Synchronize with folder name checkbox

The Analysis file name should now look like this:

This will change the name of the generated Skyline file to Selevsek-all.sky, which matches the processed file name on Panorama.

Data directory:

- Click the download button () next to Data directory.

This brings up the Download Remote Data Files dialog:

- Expand the Remote source drop-down list and select Selevsek folder

- Select the Relative path textbox and type “RawFiles\wiff-os\”

- Click Update.

This retrieves all the file names and sizes from the URL. When it has finished loading, the Download Remote Data Files dialog should look like this:

Double-check that Skyline Batch found 36 files with a combined size of 92.99 GB.

- Click Save.

The download icon next to Data directory turns blue and white, indicating that the data files will be downloaded:

- Click the (…) button next to Data directory.

- Select your “Selevsek” folder in the folder explorer and click OK.

- Add “\OS” to the end of the Data directory.

The Data directory should now look like this:

Annotations file:

- Click the download button () next to Annotations file.

This opens the Download Annotations File From Panorama dialog:

- Expand the Remote source drop-down list and select Selevsek folder

- Select the Relative path textbox and type “reports/Selevsek-os-annotations.csv”

The Download Annotations File From Panorama dialog should now look like this:

- Click Save.

The file name appears and the download icon next to Annotations file turns blue and white, indicating that the file will be downloaded:

- Click the (…) button next to Annotations file.

- Select your “Selevsek” folder in the folder explorer and click OK.

The Annotations file should now look like this:

Replicate naming pattern:

- In the Replicate naming pattern textbox, type “nselevse_(.*)_SW”

The Replicate naming pattern should look like this:

The completed Files tab should look like this:

- Click on the Settings tab

- Check the Add decoys checkbox.

- Select the Shuffle radio button.

- Check the Generate mProphet model checkbox.

The Settings tab should now look like this:

- Click on the Reports tab.

- Click the Add icon () to add a new report.

- In Report name put “MSstats Input-plus”

- Uncheck the Import report checkbox (this report already exists in our Skyline template document, so it doesn’t need to be imported)

- Click the Add icon ().

This brings up the R Script dialog:

- Click the download button () next to R script file path.

This opens the Download R Script From Panorama dialog:

This opens the Download R Script From Panorama dialog:

- Expand the Remote source drop-down list and select Selevsek folder

- Select the Relative path textbox and type “reports/MSstats_Selevsek_all.R”

The Download R Script From Panorama dialog should now look like this:

- Click Save.

The file name appears and the download icon next to R script file path turns blue and white, indicating that the file will be downloaded:

- Click the (…) button next to R script file path.

- Select your “Selevsek” folder in the folder explorer and click OK.

The R script file path should now look like this:

- Expand the R version drop-down list.

Select R-4.0.3.

*Note: If R-4.0.3 does not appear in the list, you will need to add the location of R-4.0.3 by clicking on the Add R Location button.

Your R Script dialog should now look like this:

- Click OK.

The Report dialog should now look like this:

- Click OK.

The report will now appear in the list on the Reports tab:

- Click the Skyline tab

- Select the Use Skyline radio button if it is not already selected.

- Click Save to save the configuration.

If there are any errors in the configuration, a warning will appear that will prevent you from saving. Fix the information causing the error and try to save again.

The Skyline Batch Configuration dialog will close, and you will see the new configuration in the main window:

Creating the Selevsek-reps Configuration

- Click on “Selevsek-all (MSstats)” to select it.

- Click Copy.

This will bring up a copy of Selevsek-all (MSstats), which we will use to create Selevsek-reps.

- Click the Files tab.

- In Configuration name, change “Selevsek-all (MSstats)” to “Selevsek-reps”

The files tab will now look like this:

- Click the download button () next to Data directory.

This brings up the Download Remote Data Files dialog:

- Select the Relative path textbox and change “wiff-os” to “wiff-rep”

- Click Update.

This retrieves all the file names and sizes from the URL. When it has finished loading, the Download Remote Data Files dialog should now look like this:

Double-check that Skyline Batch found 16 files with a combined size of 40.53 GB.

- Click Save.

The Data directory should look like this:

- In Data directory, replace “OS” with “REP”

The Data directory should now look like this:

- In Annotations file path, delete the path

A dialog will appear warning you that if you change the annotations file it will not be downloaded from the server.

- Click OK.

The completed Files tab should look like this:

- Click on the Refine tab.

- Click the “…” button next to Save refined file as.

- Navigate to your “Selevsek” folder and name the file “Selevsek-lowcv.sky”

The top of the Refine tab should now look like this:

- Enter the following information in the data grid:

Minimum peptides: 1

Maximum precursor only: True

CV remove above cutoff: 20

CV global normalize: equalize_medians

Q value cutoff: 0.01

Minimum detections: 4

The Refine tab should now look like this (expanded to show complete list):

- Click on the Reports tab.

- Click on the MSstats Input-plus row to select it.

- Click the Delete () icon.

- Click the Add icon () to add a new report.

You will see the empty Report form:

- In Report name put “Precursor Peak Areas Scored”

- Uncheck the Import report checkbox

- Click the Add icon ().

This brings up the R Script dialog:

- Click the download button () next to R script file path.

This opens the Download R Script From Panorama dialog:

- Expand the Remote source drop-down list and select Selevsek folder

- Select the Relative path textbox and type “reports/detection.R”

The Download R Script From Panorama dialog should now look like this:

- Click Save.

The file name appears and the download icon next to R script file path turns blue and white, indicating that the file will be downloaded:

- Click the (…) button next to R script file path.

- Select your “Selevsek” folder in the folder explorer and click OK.

The R script file path should now look like this:

- Expand the R version drop-down list.

- Select R-4.0.3.

Your R Script dialog should now look like this:

- Click OK.

The Report dialog should now look like this:

- Click OK.

The report will now appear in the list on the Reports tab:

- Click Save to save the Selevsek-reps configuration.

The main window now displays the two configurations we have created:

Creating the Selevsek-lowcv (MSstats) Configuration

- Click on “Selevsek-all (MSstats)” to select it.

- Click Copy.

This will bring up a copy of Selevsek-all (MSstats), which we will use to create Selevsek-lowcv (MSstats).

- Click the Files tab.

- In Configuration name, change “Selevsek-all (MSstats)” to “Selevsek-lowcv (MSstats)”

- In Skyline template file path, click the drop-down arrow

- Click on the “Selevsek-lowcv.sky” file path to select it.

A dialog will appear warning you that changing the template file path will prevent the file from being downloaded from Panorama.

- Click OK.

The Skyline template file path should now look like this:

- In the Analysis folder path, delete “ (MSstats)” from the end.

The completed Files tab for Selevsek-lowcv (MSstats) now looks like this:

- Click on the Reports tab.

- Click on the MSstats Input-plus row to select it.

- Click the Edit () icon.

You will see the Report form:

- Double-click on the MSstats_selevsek_all.R file path to edit it.

This brings up the R Script dialog:

- Click the download button () next to R script file path.

- In the Relative path replace “MSstats_Selevsek_all.R” with “MSstats_Selevsek_lowcv.R”

The Download R Script From Panorama dialog should look like this:

- Click Save.

The R script file path updates with the new file:

- Click OK.

Your Report form should now look like this:

- Click OK.

The MSstats Input-plus report with the lowcv R script now appears in the list:

- Click Save.

There are now three configurations in the main window:

Creating the Selevsek-all and Selevsek-lowcv Configurations

Since MSstats can take a long time to run on this data, we want to create copies of the existing configurations without the MSstats R script. When these configurations are run, Skyline Batch will stop after the reports have been exported.

This section explains how to copy the “Selevsek-all (MSstats)” configuration and remove the R script to create “Selevsek-all”

- In the main window, click on “Selevsek-all (MSstats)” to select it.

- Click Copy to bring up the Skyline Batch Configuration form.

- Click on the Files tab.

- In Configuration name delete “ (MSstats)”

The Files tab should now look like this:

- Click on the Reports tab.

- Click on the MSstats-Input plus row to select it.

- Click the edit () icon.

You will see the Report form:

- Click on the MSstats_Selevsek_all.R file path.

- Click the delete () icon.

- Click OK.

You have now removed the MSstats R script from this configuration.

- Click Save to add Selevsek-all to the configuration list in the main window.

This section explains how to copy the “Selevsek-lowcv (MSstats)” configuration and remove the R script to create “Selevsek-lowcv”

- Click on “Selevsek-lowcv (MSstats)” to select it.

- Click Copy to bring up the Skyline Batch Configuration form.

- Click on the Files tab.

- In Configuration name delete “ (MSstats)”

The Files tab should now look like this:

- Click on the Reports tab.

- Click on the MSstats-Input plus row to select it.

- Click the edit () icon.

You will see the Report form:

- Click on the MSstats_Selevsek_lowcv.R file path.

- Click the delete () icon.

- Click OK.

You have now removed the MSstats R script from this configuration.

- Click Save to add Selevsek-lowcv to the configuration list in the main window.

- Uncheck the MSstats configurations (Selevsek-all (MSstats) and Selevsek-lowcv (MSstats))

The complete list of configurations should look like this:

Sharing the Configurations

- Click Share…

This brings up the Share Configurations dialog:

- Check the Select all checkbox.

- Click Save.

*Note: When sharing configurations, it is important to save the Skyline Batch configuration file close to where the files are stored. This allows Skyline Batch to do file path replacement when the configuration file is opened on a new computer.

Navigate to your “Selevsek” folder and save the file as “Selevsek.bcfg”

This configuration file is now ready to be shared. Since the files are downloaded from Panorama, these configurations can be open and run from any computer with a current version of Skyline Batch.

Running the Configurations

- Click the Run: All button.

Skyline Batch brings you to the Log tab to show the output of running the configurations. It will download data, import it, and export reports for all three configurations.

When the configurations have finished running, it will display a Completed status in the main window. Wait until the Skyline Batch run has completed.

To run the MSstats processing, we can run the MSstats configurations from the “R scripts only” step.

- Uncheck all the configurations.

- Check the (MSstats) configurations.

The configurations should now look like this:

- Click the downward arrow next to Run: All to expand the run options

- Click R scripts only

This will run the MSstats scripts for Selevsek-all (MSstats) and Selevsek-lowcv (MSstats). Wait until the configurations have finished running.

Navigate to your “Selevsek” folder, which will contain the following files and folders:

You can view files in Skyline Batch by clicking on a configuration to select it, and using the following buttons:

Opens the Skyline template document

Opens the Skyline results document

Opens the analysis folder

If you want to learn more about Skyline Batch daily, visit the documentation at:

SkylineBatchDocumentation.pdf